## Data
MI-SKU | MI-PARENT SKU | MI-SERIALIZED | MI-SNAP_YN | MI-ZAIN_LOGO_YN | MI-ACTIVE_PASSIVE | MI-UOM | MI-QTY | MI-UOM_1 | SYS-QTY_1 | MI-UOM_2 | SYS-QTY_2 | MI-CONVERSION FACTOR | MI-CONVERSION FACTOR1 | MI-CONVERSION FACTOR2 | MI-DEPARTMENT | MI-TEAM | MI-ITEM_MAJOR_TYPE | MI-MANUFACTURER | MI-ITEM_DESCRIPTION | MI-LONG_DESCRIPTION | MI-HEIGHT | MI-WIDTH | MI-LENGTH | MI-HEIGHT1 | MI-WIDTH1 | MI-LENGTH1 | MI-HEIGHT2 | MI-WIDTH2 | MI-LENGTH2 | MI-AF_SQM_ST | MI-AF_SQM_OPS | MI-STACKING | MI-AF_SQM_ST1 | MI-AF_SQM_OPS1 | MI-STACKING1 | MI-AF_SQM_ST2 | MI-AF_SQM_OPS2 | MI-STACKING2 | MI-ADD_DATE
DM_SHUTTER_DOOR |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | FACILITY | FC--SALES_FACILITY | FACILITY = SHUTTER DOOR | UNKNOWN | SHUTTER DOOR |  | 380 | 30 | 600 | [6 empty] | NEW | 2.16 | 1 | [6 empty] | 2025-05-25 20:52
DM_R_CABINET |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | NW--RADIO_PLANNING | NW = EM -- RECTIFIER CABINET | ELTEK | RECTIFIER CABINET |  | 45 | 60 | 90 | [6 empty] | OLD | 0.4536 | 1 | [6 empty] | 2025-05-25 20:52
DM_SMOKE_DETECTOR |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ALARM SYSTEM | UNKNOWN | SMOKE DEDUCTOR - BRUNT |  | 45 | 60 | 90 | [6 empty] | UPDATED | 0.0108 | 1 | [6 empty] | 2025-05-25 20:52
25050014AZX1 |  | YES | NO | NO | ACTIVE | BRL | 0 | MTR | 0 | CM | 0 | 1 | 0.2 | 0.002 | NETWORK | RADIO PLANNING | NW = RADIO -- CABLE | HUAWEI | TWISTED-PAIR CABLE 100OHM CATEGORY 5E UTP 0.51MM 24AWG 8CORE - 5 METERS LENGTH (PRAVEEN)1 |  | 30 | 45 | 74 | [6 empty] | OLD | 0.1998 | 2 | [6 empty] | 2025-05-25 20:52
DM_RRU_C |  | NO | NO | NO | ACTIVE | MTR | 0 | CM | 0 | ROLL | 0 | 1 | 1000 | 100 | FACILITY | FC--IT | FACILITY = IT -- WATER DESPINSER | UNKNOWN | RRU Power cable |  | 15 | 15 | 2 | 0.15 | 0.15 | 0.02 | 150 | 150 | 20 |  | 0.000667 | 40 | [6 empty] | 2025-05-25 20:52
020MMJ |  | NO | NO | NO | PASSIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | IPBB | NW = TX -- IP - BOARD | UNKNOWN | S9300 MAIN PROCESS UNIT |  | 4 | 41 | 40 | [7 empty] | 0.01968 | 10 | [6 empty] | 2025-05-25 20:52
02237428 |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- FEEDER | HUAWEI | DBS ANTENNA FEEDER INSTALLATION AUXILIARY KIT PER SECTOR GEN |  | 45 | 60 | 90 | [7 empty] | 1.37088 | 1 | [6 empty] | 2025-05-25 20:52
847145 |  | YES | NO | YES | ACTIVE | PC | 3300 | BOX | 330 | CTN | 33 | 1 | 10 | 100 | NETWORK | NW--TRANSMISSION | NW = RADIO -- FTP | HUAWEI | CORDON CAT 5E FTP ORANGE 2.0 M |  | 70 | 80 | 40 | [6 empty] | OLD | 0.00025 | 100 | [6 empty] | 2025-05-25 20:52
3DB29180AA |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | FACILITY | FC--IT | FACILITY = IT -- SMMD | HUAWEI | UBT-M 80 GHZ HIGH |  | 45 | 60 | 90 | [7 empty] | 0.1998 | 1 | [6 empty] | 2025-05-25 20:52
SCX2-W800BUBT |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- JUMPER CABLE | HUAWEI | ANT UBT INT 0.6M DP 80 GHZ (WITH OMT) |  | 7.5 | 27.6 | 30.5 | [7 empty] | 0.01684 | 1 | [6 empty] | 2025-05-25 20:52
DM_SHELVES |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | FACILITY | FC--SALES_FACILITY | FACILITY = SHELVE | UNKNOWN | SHELVES |  | 190 | 120 | 30 | [6 empty] | NEW | 0.432 | 1 | [6 empty] | 2025-05-25 20:52
3DB19343AA |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- ANTENNA | HUAWEI | EAC 10G |  | 4 | 41 | 40 | [7 empty] | 0.1998 | 1 | [6 empty] | 2025-05-25 20:52
CBE0000003 |  | YES | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = MW -- IDU | HUAWEI | RTN905 |  | 30.5 | 27.6 | 7.5 | [7 empty] | 0.01684 | 1 | [6 empty] | 2025-05-25 20:52
DM_ROD |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ACCESSORY | UNKNOWN | NO OF ROD |  | 45 | 60 | 90 | [6 empty] | OLD | 0.012 | 4 | [6 empty] | 2025-05-25 20:52
KL250500154KL3 |  | NO | NO | NO | PASSIVE | BRL | 0 | MTR | 0 | CM | 0 | 1 | 0.2 | 0.002 | FACILITY | FC--SALES_FACILITY | FACILITY = SELF SERVICE | HOI | (RAJ2) TWISTED-PAIR CABLE 100OHM CATEGORY 5E UTP 0.51MM 24AWG 8CORE - 5 METERS LENGTH34 |  | 32 | 47 | 76 | [6 empty] | OLD | 2.1998 | 4 | [6 empty] | 2025-05-25 20:52
DM_ROUTER |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ROUTER | CISCO | ROUTER |  | 45 | 60 | 90 | [6 empty] | OLD | 1.008 | 1 | [6 empty] | 2025-05-25 20:52
DM_S_BATTERIES_600AH |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | FC--TECH_FACILITIES_OPS | NW = EM -- BATTERY | SONNECHIEN | BATTERIES 2V/600AH (SONNECHIEN) |  | 45 | 60 | 90 | [6 empty] | UPDATED | 0.01613 | 5 | [6 empty] | 2025-05-25 20:52
02113174 |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = MW HUW -- IDU | HUAWEI | RTN950 |  | 7.5 | 27.6 | 30.5 | [7 empty] | 0.01684 | 6 | [6 empty] | 2025-05-25 20:52
02230BUQ |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- TMA | HUAWEI | TMA(NO AISG) AUXILIARY MATERIALS KIT(NOT INCLUDE TMA) GU |  | 11 | 37 | 37 | [7 empty] | 0.00821 | 20 | [6 empty] | 2025-05-25 20:52
KL250500154KL5 |  | NO | NO | NO | PASSIVE | BRL | 0 | MTR | 0 | CM | 0 | 1 | 0.2 | 0.002 | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- CABINET | RITTAL | RTN9506 |  | 30.5 | 27.6 | 7.5 | [6 empty] | OLD | 0.01684 | 6 | [6 empty] | 2025-05-25 20:52
DM_SMMD |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | FACILITY | FC--IT | FACILITY = IT -- SMMD | UNKNOWN | SMMD |  | 45 | 60 | 90 | [6 empty] | NEW | 0.002 | 6 | [6 empty] | 2025-05-25 20:52
02230AWV |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- JUMPER CABLE | HUAWEI | 7/8 INCH COMMON COPPER FEEDER KIT ANTENNA JUMPER INCLUDED GENERAL |  | 7.5 | 27.6 | 30.5 | [7 empty] | 1.37088 | 1 | [6 empty] | 2025-05-25 20:52
01-LS-HB120-DL |  | NO | NO | NO | PASSIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | FACILITY | SALES FACILITY | FACILITY = SAFE | YASER | BIG SAFE BOX |  | 45 | 60 | 90 | [7 empty] | 1.37088 | 1 | [6 empty] | 2025-05-25 20:52
DM_SHELTER_2.5*2.3 |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | NW--RADIO_PLANNING | NW = CIVIL -- SHELTER | UNKNOWN | SHELTER AND TE |  | 300 | 230 | 250 | [6 empty] | UPDATED | 6.9 | 1 | [6 empty] | 2025-05-25 20:52
CBE0000001 |  | YES | NO | NO | PASSIVE | BRL | 0 | MTR | 0 | CM | 0 | 1 | 0.2 | 0.002 | NETWORK | RADIO PLANNING | NW = MW HUW -- IDU | HUAWEI | RTN950 |  | 30.5 | 27.6 | 7.5 | [7 empty] | 0.01684 | 6 | [6 empty] | 2025-05-25 20:52
DM_S_DOOR |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ACCESSORY | UNKNOWN | DOOR |  | 45 | 60 | 90 | [6 empty] | OLD | 2.1 | 2 | [6 empty] | 2025-05-25 20:52
KL250500156KL |  | YES | NO | NO | ACTIVE | BRL | 0 | MTR | 0 | CM | 0 | 1 | 0.2 | 0.002 | NETWORK | RADIO PLANNING | NW = RADIO -- CABLE | HUAWEI | (RAJ2) TWISTED-PAIR CABLE 100OHM CATEGORY 5E UTP 0.51MM 24AWG 8CORE - 5 METERS LENGTH3 |  | 32 | 47 | 76 | [6 empty] | OLD | 2.1998 | 4 | [6 empty] | 2025-05-25 20:52
02230BUF |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- TMA | HUAWEI | AISG TMA AUXILIARY MATERIALS KIT(NOT INCLUDE TMA) GU |  | 14 | 39 | 38 | [7 empty] | 0.01778 | 10 | [6 empty] | 2025-05-25 20:52
02120553 |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | TRANSMISSION | NW = RADIO -- BOARD ACCESSORY | HUAWEI | DC POWER DISTRIBUTION UNIT |  | 5 | 10 | 49 | [7 empty] | 0.00588 | 10 | [6 empty] | 2025-05-25 20:52
DM_RACK_1833 |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | NW--CORE | NW = CORE -- RACK | TECNOMEN | RACK-1833 |  | 45 | 60 | 90 | [6 empty] | OLD | 0.576 | 1 | [6 empty] | 2025-05-25 20:52
DM_RET_CBL |  | NO | NO | NO | ACTIVE | MTR | 0 | CM | 0 | ROLL | 0 | 1 | 1000 | 100 | NETWORK | NW--RADIO_PLANNING | NW = EM -- RECTIFIER MODULE | UNKNOWN | RET CABLES |  | 15 | 15 | 2 | 0.15 | 0.15 | 0.02 | 150 | 150 | 20 |  | 0.00067 | 40 | [6 empty] | 2025-05-25 20:52
KL250500154KL1 |  | YES | NO | NO | PASSIVE | BRL | 0 | MTR | 0 | CM | 0 | 1 | 0.2 | 0.002 | FACILITY | FC--SALES_FACILITY | FACILITY = KVM | HOI | (RAJ2) TWISTED-PAIR CABLE 100OHM CATEGORY 5E UTP 0.51MM 24AWG 8CORE - 5 METERS LENGTH12 |  | 30 | 45 | 74 | [6 empty] | OLD | 0.1998 | 2 | [6 empty] | 2025-05-25 20:52
DM_PW_CABLE |  | NO | NO | NO | ACTIVE | MTR | 0 | CM | 0 | ROLL | 0 | 1 | 1000 | 100 | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ANTENNA | UNKNOWN | POWER CABLE |  | 15 | 15 | 2 | 0.15 | 0.15 | 0.02 | 150 | 150 | 20 |  | 0.00067 | 40 | [6 empty] | 2025-05-25 20:52
3DB29170AA |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | FACILITY | FC--IT | FACILITY = IT -- SMMD | HUAWEI | UBT-M 80 GHZ LOW |  | 45 | 60 | 90 | [7 empty] | 0.02176 | 1 | [6 empty] | 2025-05-25 20:52
KL250500154KL2 |  | NO | NO | NO | PASSIVE | BRL | 0 | MTR | 0 | CM | 0 | 1 | 0.2 | 0.002 | FACILITY | NW--IPBB | FACILITY = IPBB -- OSR | HOI | (RAJ2) TWISTED-PAIR CABLE 100OHM CATEGORY 5E UTP 0.51MM 24AWG 8CORE - 5 METERS LENGTH23 |  | 31 | 46 | 75 | [6 empty] | OLD | 1.1998 | 3 | [6 empty] | 2025-05-25 20:52
01072601-001 |  | NO | NO | NO | PASSIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = EM -- RECTIFIER | HUAWEI | EMBEDDED POWER ETP48200 220/380VAC THREE-PHASE OR 127/220V |  | 35 | 48 | 57 | [7 empty] | 0.08208 | 4 | [6 empty] | 2025-05-25 20:52
02230FDF |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- ACCESSORY | HUAWEI | MPE SITE MATERIALS KIT SITE MATERIALS KIT |  | 7.5 | 27.6 | 30.5 | [7 empty] | 1.37088 | 1 | [6 empty] | 2025-05-25 20:52
DM_RACKS_MW |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | NW--CORE | NW = CORE -- RACK | UNKNOWN | MW RACKS |  | 7.5 | 27.6 | 30.5 | [6 empty] | OLD | 1.37088 | 1 | [6 empty] | 2025-05-25 20:52
02113196 |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- BTS-CABINET | HUAWEI | BTS3900 CABINET (DC -48V) |  | 45 | 60 | 90 | [7 empty] | 1.37088 | 1 | [6 empty] | 2025-05-25 20:52
DM_RACK_1834 |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- RACK | TECNOMEN | RACK-1834 |  | 4 | 41 | 40 | [6 empty] | OLD | 0.576 | 1 | [6 empty] | 2025-05-25 20:52
02120458 |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- BBU | HUAWEI | FAN BOX HERT BBU WD2E1FANC 2U FAN MODULE |  | 8 | 33 | 9 | [7 empty] | 0.00594 | 6 | [6 empty] | 2025-05-25 20:52
02113369 |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- CABINET | HUAWEI | BTS3900 CABINET (DC -48V) |  | 45 | 60 | 90 | [7 empty] | 1.37088 | 1 | [6 empty] | 2025-05-25 20:52
02231EED |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- ACCESSORY | HUAWEI | SUBASSEMBLY ¦ ACCESSORIES SMOKE SENSOR WITH 6.0M SIGNAL CABLE |  | 7.5 | 27.6 | 30.5 | [7 empty] | 1.37088 | 1 | [6 empty] | 2025-05-25 20:52
DM_SERVER |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | FC--TECH_FACILITIES_OPS | NW = IT -- | UNKNOWN | SERVER |  | 4 | 41 | 40 | [6 empty] | OLD | 0.06336 | 10 | [6 empty] | 2025-05-25 20:52
02113358 |  | YES | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- CABINET | HUAWEI | BTS3900 CABINET (VER.C DC -48V) |  | 600 | 60 | 45 | [7 empty] | 0.324 | 1 | [6 empty] | 2025-05-25 20:52
DM_S_SERVICE_MONTOR |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | FACILITY | FC--IT | FACILITY = IT -- SSM | UNKNOWN | SELF SERVICE MONTOR |  | 45 | 60 | 90 | [6 empty] | NEW | 0.09 | 6 | [6 empty] | 2025-05-25 20:52
020TLFDOAB003198 |  | NO | NO | NO | PASSIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | FACILITY | SALES FACILITY | FACILITY = SERVER | UNKNOWN | OTIX OSN 3500 |  | 45 | 60 | 90 | [7 empty] | 1.37088 | 1 | [6 empty] | 2025-05-25 20:52
02112722 |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- BOARD ACCESSORY | HUAWEI | HERT BBU BOX |  | 9 | 37 | 49 | [7 empty] | 0.02176 | 10 | [6 empty] | 2025-05-25 20:52
KL250500154KL7 |  | YES | NO | NO | PASSIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- CABINET | FUJITSU | RTN9058 |  | 30.5 | 27.6 | 7.5 | [6 empty] | OLD | 0.01684 | 6 | [6 empty] | 2025-05-25 20:52
DM_SCANER |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | FACILITY | FC--IT | FACILITY = IT -- SCANNER | UNKNOWN | SCANER |  | 5 | 20 | 20 | [6 empty] | NEW | 0.008 | 6 | [6 empty] | 2025-05-25 20:52
847141 |  | NO | NO | NO | ACTIVE | PC | 80 | BOX | 5.33 | CTN | 0.53 | 1 | 15 | 150 | NETWORK | NW--TRANSMISSION | NW = RADIO -- FTP | UNKNOWN | CORDON CAT 5E FTP YELLOW 2.0 M |  | 40 | 40 | 80 | [6 empty] | OLD | 0.00024 | 100 | [6 empty] | 2025-05-25 20:52
001F6C814B7A |  | NO | NO | NO | PASSIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | IT | IT INFRASTRUCTURE | IT = TELEPHONE | CISCO | TELEPHONE |  | 45 | 60 | 90 | [7 empty] | 1.37088 | 1 | [6 empty] | 2025-05-25 20:52
02120370 |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- BSC/RNC - RACK | HUAWEI | FAN BOX |  | 64 | 54 | 67 | [7 empty] | 0.21708 | 2 | [6 empty] | 2025-05-25 20:52
02231EEC |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = EM -- POWER - MINI SHELTER | HUAWEI | SMOKE SENSOR |  | 10 | 22 | 38 | [7 empty] | 0.00502 | 20 | [6 empty] | 2025-05-25 20:52
DM-CABLE |  | NO | YES | NO | ACTIVE | MTR | 0 | CM | 0 | ROLL | 0 | 1 | 1000 | 100 | FACILITY | SALES FACILITY | FACILITY = CABLE | UNKNOWN | POWER CABKE |  | 0.5 | 0.5 | 0.1 | 0.05 | 0.01 | 0.01 | 5 | 10 | 10 | OLD | 1 | 10 | OLD | 0.1 | 100 | OLD |  | 2 | 2025-05-26 12:10
02238924 |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- GPS AUX | HUAWEI | GPS AUXILIARY |  | 45 | 60 | 90 | [7 empty] | 1.37088 | 1 | [6 empty] | 2025-05-25 20:52
KL250500154KL |  | YES | NO | NO | ACTIVE | BRL | 0 | MTR | 0 | CM | 0 | 1 | 0.2 | 0.002 | NETWORK | RADIO PLANNING | NW = RADIO -- CABLE | HUAWEI | (RAJ2) TWISTED-PAIR CABLE 100OHM CATEGORY 5E UTP 0.51MM 24AWG 8CORE - 5 METERS LENGTH1 |  | 30 | 45 | 74 | [6 empty] | OLD | 0.1998 | 2 | [6 empty] | 2025-05-25 20:52
02113380 |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- CABINET | HUAWEI | BTS3900L CABINET (VER.C~~ DC -48V) |  | 160 | 60 | 45 | [7 empty] | 0.324 | 1 | [6 empty] | 2025-05-25 20:52
001D457E6394 |  | NO | NO | NO | PASSIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | IT | IT INFRASTRUCTURE | IT = TELEPHONE | CISCO | TELEPHONE |  | 45 | 60 | 90 | [7 empty] | 1.37088 | 1 | [6 empty] | 2025-05-25 20:52
02113202 |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = EM -- CABINET | HUAWEI | BATTERY CABINET |  | 90 | 73 | 80 | [7 empty] | 0.3504 | 2 | [6 empty] | 2025-05-25 20:52
02110WYG |  | NO | NO | NO | PASSIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- BOARD ACCESSORY | HUAWEI | BBU3900 |  | 8.61 | 30.8 | 48.2 | [7 empty] | 0.17815 | 1 | [6 empty] | 2025-05-25 20:52
02102310 |  | NO | NO | NO | PASSIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- MODULE | HUAWEI | RRU.B08-0900.E.080 |  | 2 | 16 | 31 | [7 empty] | 0.05952 | 1 | [6 empty] | 2025-05-25 20:52
KL250500154KL4 |  | NO | NO | NO | PASSIVE | BRL | 0 | MTR | 0 | CM | 0 | 1 | 0.2 | 0.002 | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- CABINET | SUN | (RAJ2) TWISTED-PAIR CABLE 100OHM CATEGORY 5E UTP 0.51MM 24AWG 8CORE - 5 METERS LENGTH45 |  | 33 | 48 | 77 | [6 empty] | OLD | 3.1998 | 5 | [6 empty] | 2025-05-25 20:52
02112708 |  | NO | NO | NO | PASSIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- CABINET | HUAWEI | HERT MPE,WD2B1MID,INDOOR MACRO MIDDLE CABINET(DC -48V) ASSEMBLY CABINET |  | 45 | 60 | 90 | [7 empty] | 0.648 | 1 | [6 empty] | 2025-05-25 20:52
02355338 |  | NO | NO | NO | ACTIVE | PC | 100 | BOX | 8.33 | CTN | 0.69 | 1 | 12 | 144 | NETWORK | NW--CORE | NW = CORE -- FAN | UNKNOWN | ASSEMBLING COMPONENTS,FAN BOX(EA,BACK TO FRONT,FAN PANEL SIDE EXHAUST),FAN-40EA-B,FAN BOX(EA,BACK TO FRONT,FAN PANEL SIDE EXHAUST) |  | 60 | 40 | 40 | [6 empty] | NEW | 0.0001 | 1 | [6 empty] | 2025-05-25 20:52
020QYR |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- BOARD | HUAWEI | WBBP |  | 45 | 60 | 90 | [7 empty] | 1.37088 | 1 | [6 empty] | 2025-05-25 20:52
DM_SHELTER_1 |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | NW--RADIO_PLANNING | NW = CIVIL -- SHELTER | UNKNOWN | SHELTER |  | 45 | 60 | 90 | [6 empty] | OLD | 7.488 | 1 | [6 empty] | 2025-05-25 20:52
DM_SERVER_CAB |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | NW--CORE | NW = CORE -- RACK | NOKIA SIEMENS NETWORK | TECNOTREE RACK |  | 45 | 60 | 90 | [6 empty] | OLD | 0.72 | 1 | [6 empty] | 2025-05-25 20:52
KL250500155KL |  | YES | NO | NO | ACTIVE | BRL | 0 | MTR | 0 | CM | 0 | 1 | 0.2 | 0.002 | NETWORK | RADIO PLANNING | NW = RADIO -- CABLE | HUAWEI | (RAJ2) TWISTED-PAIR CABLE 100OHM CATEGORY 5E UTP 0.51MM 24AWG 8CORE - 5 METERS LENGTH2 |  | 31 | 46 | 75 | [6 empty] | OLD | 1.1998 | 3 | [6 empty] | 2025-05-25 20:52
CBE0000002 |  | YES | NO | NO | PASSIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 5 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- CABINET | HUAWEI | BTS3900 CABINET (VER.C DC -48V) |  | 45 | 60 | 600 | [7 empty] | 0.324 | 1 | [6 empty] | 2025-05-25 20:52
DM_RF_CABLE_LDFS |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- CABLE | UNKNOWN | RF CABLES LDFS |  | 7.5 | 27.6 | 30.5 | [6 empty] | UPDATED | 0.00058 | 100 | [6 empty] | 2025-05-25 20:52
02231ECU |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = EM -- POWER - MINI SHELTER | HUAWEI | TEMPERATURE & HUMIDITY SENSOR |  | 7 | 18 | 26 | [7 empty] | 0.00281 | 20 | [6 empty] | 2025-05-25 20:52
DM_RING |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ACCESSORY | UNKNOWN | RING |  | 45 | 60 | 90 | [6 empty] | OLD | 4.332 | 1 | [6 empty] | 2025-05-25 20:52
DM_R_ROUTER |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | NW--CORE | NW = CORE -- ROUTER | CISCO | ROAMING ROUTER |  | 45 | 60 | 90 | [6 empty] | OLD | 0.18666 | 2 | [6 empty] | 2025-05-25 20:52
02120577 |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- BBU BOX | HUAWEI | 2U FAN MODULE |  | 5 | 33 | 10 | [7 empty] | 0.00495 | 8 | [6 empty] | 2025-05-25 20:52
02113177 |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | TRANSMISSION | NW = MW -- IDU | HUAWEI | OPTIX RTN 950 |  | 7.5 | 27.6 | 30.5 | [7 empty] | 0.05051 | 2 | [6 empty] | 2025-05-25 20:52
DM_RACK |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | NW--CORE | NW = RADIO -- RACK | SUN | RACKS |  | 45 | 60 | 90 | [6 empty] | OLD | 0.02374 | 10 | [6 empty] | 2025-05-25 20:52
00231847 |  | NO | NO | NO | PASSIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- MODULE | HUAWEI | GRFU V2 900MHZ EGSM |  | 45 | 60 | 90 | [7 empty] | 1.37088 | 1 | [6 empty] | 2025-05-25 20:52
02120730 |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- DCDU | HUAWEI | POWER DISTRIBUTION BOX,OUTDOOR&INDOOR TYPE,WD2E5DCDU12A,DC PDU,OUTPUT:10*30A FUSE(3 PCS SMALL TERMINAL),DC,2 INPUT,10 OUTPUT,160A |  | 4.2 | 44.2 | 90 | [7 empty] | 0.09547 | 5 | [6 empty] | 2025-05-25 20:52
DM_ROOM_CABINET |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- CABINET | UNKNOWN | ROOM CABINET |  | 7.5 | 27.6 | 30.5 | [6 empty] | OLD | 9.6 | 2 | [6 empty] | 2025-05-25 20:52
3DB29171AA |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ALARM SYSTEM | HUAWEI | UBT-MX 80 GHZ LOW |  | 45 | 60 | 90 | [7 empty] | 0.1998 | 1 | [6 empty] | 2025-05-25 20:52
02238083 |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | TRANSMISSION | NW = TX -- MW - IF CARD | HUAWEI | RTN 600 IFX BOARD DELIVERY ACCESSORIES |  | 3 | 5 | 24 | [7 empty] | 0.00014 | 100 | [6 empty] | 2025-05-25 20:52
KL250500154KL6 |  | YES | NO | NO | PASSIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 5 | 100 | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- CABINET | FUJITSU | BTS3900 CABINET (VER.C DC -48V)7 |  | 45 | 60 | 600 | [6 empty] | OLD | 0.324 | 1 | [6 empty] | 2025-05-25 20:52
KL250500157KL |  | YES | NO | NO | ACTIVE | BRL | 124 | MTR | 620 | CM | 62000 | 1 | 0.2 | 0.002 | NETWORK | RADIO PLANNING | NW = RADIO -- CABLE | HUAWEI | (RAJ2) TWISTED-PAIR CABLE 100OHM CATEGORY 5E UTP 0.51MM 24AWG 8CORE - 5 METERS LENGTH4 |  | 33 | 48 | 77 | [6 empty] | OLD | 3.1998 | 5 | [6 empty] | 2025-05-25 20:52
02114989 |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = EM -- CABINET | HUAWEI | OUTDOOR CABINET MTS9510A 815 MM (W) * 735 MM (D) * 2030 MM |  | 208 | 90 | 90 | [7 empty] | 0.972 | 1 | [6 empty] | 2025-05-25 20:52
DM_R_MODULE |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | NW--CORE | NW = EM -- RECTIFIER MODULE | ELTEK | RECTIFIER MODULE |  | 45 | 60 | 90 | [6 empty] | UPDATED | 0.00231 | 8 | [6 empty] | 2025-05-25 20:52
021HPR |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- CARD | UNKNOWN | FWBBP |  | 3 | 16 | 32 | [7 empty] | 0.0041 | 15 | [6 empty] | 2025-05-25 20:52
02103053 |  | NO | NO | NO | PASSIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- BOARD | HUAWEI | UMPTA1 |  | 45 | 60 | 90 | [7 empty] | 1.37088 | 1 | [6 empty] | 2025-05-25 20:52
02231ECT |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- ACCESSORY | HUAWEI | ENVIRONMENT TEMPERATURE SENSOR WITH 5.0M SIGNAL CABLE |  | 45 | 60 | 90 | [7 empty] | 1.37088 | 1 | [6 empty] | 2025-05-25 20:52
01-LS-HB65-DL |  | NO | NO | NO | PASSIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | FACILITY | SALES FACILITY | FACILITY = SECURITY | YASER | SMALL SAFE BOX (HIGH SECURITY 2-HOUR FIRE RESISTANCE ELECTR |  | 45 | 60 | 90 | [7 empty] | 1.37088 | 1 | [6 empty] | 2025-05-25 20:52
DM_SHELTER_4.5*3.5 |  | NO | NO | NO | ACTIVE | EACH | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | FC--TECH_FACILITIES_OPS | NW = CIVIL -- SHELTER | UNKNOWN | RDU WITH SHELTER |  | 400 | 450 | 500 | [6 empty] | UPDATED | 27 | 1 | [6 empty] | 2025-05-25 20:52
02113394 |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- CABINET | HUAWEI | BTS3900A CABINET (VER.C~~ DC -48V) |  | 140 | 60 | 48 | [7 empty] | 0.3456 | 1 | [6 empty] | 2025-05-25 20:52
02231XVC |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = EM -- POWER - MINI SHELTER | HUAWEI | MTS9000A INTEGRATED EQUIPMENT AUXILIARY MATERIAL KIT |  | 10 | 22 | 38 | [7 empty] | 0.00502 | 20 | [6 empty] | 2025-05-25 20:52
02120731 |  | NO | NO | NO | ACTIVE | PC | 0 | BOX | 0 | CTN | 0 | 1 | 10 | 100 | NETWORK | RADIO PLANNING | NW = RADIO -- BOARD ACCESSORY | HUAWEI | DC POWER DISTRIBUTION UNIT |  | 80 | 80 | 156 | [7 empty] | 1.4976 | 1 | [6 empty] | 2025-05-25 20:52