## Data
MI-SKU | MI-PARENT SKU | MI-SERIALIZED | MI-SNAP_YN | MI-ZAIN_LOGO_YN | MI-ACTIVE_PASSIVE | MI-UOM | MI-QTY | MI-UOM_1 | SYS-QTY_1 | MI-UOM_2 | SYS-QTY_2 | MI-CONVERSION FACTOR | MI-CONVERSION FACTOR1 | MI-CONVERSION FACTOR2 | MI-DEPARTMENT | MI-TEAM | MI-ITEM_MAJOR_TYPE | MI-MANUFACTURER | MI-ITEM_DESCRIPTION | MI-LONG_DESCRIPTION | MI-HEIGHT | MI-WIDTH | MI-LENGTH | MI-HEIGHT1 | MI-WIDTH1 | MI-LENGTH1 | MI-HEIGHT2 | MI-WIDTH2 | MI-LENGTH2 | MI-AF_SQM_ST | MI-AF_SQM_OPS | MI-STACKING | MI-AF_SQM_ST1 | MI-AF_SQM_OPS1 | MI-STACKING1 | MI-AF_SQM_ST2 | MI-AF_SQM_OPS2 | MI-STACKING2 | MI-ADD_DATE
02270089 |  | NO | NO | NO | PASSIVE | PC | 2 |  | 2 |  | 2 | 1 |  |  | NETWORK | NW--CORE | NW = CORE -- POWER SUPPLY MODULE | UNKNOWN | DC/DC Power Module,8000W,-5degC,55degC,-38V--75V,-36V--75V,Main Output 67.5A*3,Auxiliary -48V/13A,0A,I2C Communication |  | 44.9 | 20.8 | 12.7 | [6 empty] | NEW | 0.11207 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
2113256 |  | YES | NO | NO | PASSIVE | PC | 1 |  | 1 |  | 1 | 1 |  |  | NETWORK | NW--IBS | NW = TX -- OSN - RACK | HUAWEI | OPTIX OSN RACK |  | 45 | 60 | 160 | [6 empty] | OLD | 0.216 | 1 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
114759 |  | YES | NO | NO | PASSIVE | PC | 1 |  | 1 |  | 1 | 1 |  |  | FACILITY | NW--IPBB | FACILITY = IT -- STORAGE UNIT | UNKNOWN | Nexus Net View |  | 20 | 20 | 5 | [6 empty] | UPDATED | 0.0001 | 5 | UPDATED |  |  | UPDATED |  |  | 2025-06-25 16:40
835596 |  | YES | NO | NO | PASSIVE | PC | 1 |  | 1 |  | 1 | 1 |  |  | IT | FC--TECH_FACILITY | FACILITY = IT -- MODULE | UNKNOWN | SUN STORAGE MODULE 6180 |  | 60 | 85 | 200 | [6 empty] | NEW | 0.06857 | 20 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
2102311 |  | YES | NO | NO | ACTIVE | PC | 1 |  | 1 |  | 1 | 1 |  |  | FACILITY | NW--IPBB | FACILITY = IT -- STORAGE UNIT | HUAWEI | Huawei Storage |  | 48.2 | 64.5 | 30.8 | [6 empty] | UPDATED | 0.0001 | 2 | UPDATED |  |  | UPDATED |  |  | 2025-06-25 16:40
02113169 |  | YES | NO | NO | ACTIVE | PC | 1 |  | 1 |  | 1 | 1 |  |  | NETWORK | NW--IPBB | NW = RADIO -- CABINET | HUAWEI | BTS3900 CABINET (DC -48V) |  | 44.2 | 43.8 | 17.5 | [6 empty] | OLD | 0.3312 | 1 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
DM_RET_CBL |  | NO | NO | NO | ACTIVE | MTR | 10 | CM | 0.01 | ROLL | 0.1 | 1 | 1000 | 100 | NETWORK | NW--RADIO_PLANNING | NW = EM -- RECTIFIER MODULE | UNKNOWN | RET CABLES |  | 15 | 15 | 2 | 0.15 | 0.15 | 0.02 | 150 | 150 | 20 | NEW | 0.00067 | 40 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
793533 |  | YES | NO | NO | PASSIVE | PC | 1 |  | 1 |  | 1 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- BOARD | KATHREIN | combiner |  | 30 | 30 | 30 | [6 empty] | OLD | 0.00912 | 6 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
734365 |  | YES | NO | NO | PASSIVE | PC | 1 |  | 1 |  | 1 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- CLAMP | KATHREIN | ANTENNA FEEDER ACCESSORIES KATHREIN TMA CLAMP ONE SET 734365 |  | 25 | 36 | 46 | [6 empty] | OLD | 0.0025 | 10 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
02113359 |  | YES | NO | NO | PASSIVE | PC | 1 |  | 1 |  | 1 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- CABINET | UNKNOWN | HERT MPE,WD2B2LAR,INDOOR MARCO LARGE CABINET A,48VDC,202V.C,MAXCAPM0S20 |  | 45 | 60 | 160 | [6 empty] | NEW | 0.324 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
148236 |  | YES | NO | NO | ACTIVE | PC | 1 |  | 1 |  | 1 | 1 |  |  | FACILITY | NW--IPBB | FACILITY = TRANSFORMER | UNKNOWN | Trasformer 110kva |  | 20 | 20 | 5 | [6 empty] | UPDATED | 0.61236 | 5 | UPDATED |  |  | UPDATED |  |  | 2025-06-25 16:40
2112953 |  | YES | NO | NO | ACTIVE | PC | 1 |  | 1 |  | 1 | 1 |  |  | NETWORK | NW--IPBB | NW = TX -- OSN - CABINET | HUAWEI | ASSEMBLY CABINET OPTIX OSN 2500 SSQB9RACK01 N63E ASSEMBLE RA |  | 48.2 | 64.5 | 30.8 | [6 empty] | OLD | 0.105 | 1 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
241115.110 |  | YES | NO | NO | ACTIVE | PC | 1 |  | 1 |  | 1 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = EM -- RECTIFIER MODULE | UNKNOWN | Eltek Rectifier module 2000 W |  | 10 | 20 | 10 | [6 empty] | NEW | 0.0064 | 5 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
3433 |  | YES | NO | NO | ACTIVE | PC | 1 |  | 1 |  | 1 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- CABINET | FUJITSU | TNMS AND NETVIEWER RICK CABINET #3433 |  | 60 | 40 | 166 | [6 empty] | UPDATED | 0.432 | 1 | UPDATED |  |  | UPDATED |  |  | 2025-06-25 16:40
742215 |  | YES | NO | NO | PASSIVE | PC | 1 |  | 1 |  | 1 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ANTENNA | HUAWEI | DX 1710–2200 |  | 52 | 39 | 8 | [6 empty] | OLD | 0.2184 | 6 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
231939.02 |  | YES | NO | NO | ACTIVE | PC | 1 |  | 1 |  | 1 | 1 |  |  | FACILITY | FC--SALES_FACILITY | FACILITY = RECTIFIER | UNKNOWN | Flatpack Rect 48Vdc 500A [with 6 modules 3000W] |  | 60 | 60 | 20 | [6 empty] | NEW | 0.432 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
242100.11 |  | YES | NO | NO | ACTIVE | PC | 1 |  | 1 |  | 1 | 1 |  |  | NETWORK | NW--CORE | NW = EM -- MODULE | ELTEK | SMARTPACK EXTENDED |  | 52 | 39 | 8 | [6 empty] | OLD | 0.02244 | 1 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
02120632 |  | NO | NO | NO | ACTIVE | PC | 10 |  | 10 |  | 10 | 1 |  |  | NETWORK | NW--CORE | NW = CORE -- Fan Tray Assembly | UNKNOWN | Fan Box,PGP,CR52FCBE,Fan Box,Fan Unit |  | 10.5 | 21.2 | 27 | [6 empty] | NEW | 0.02671 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
210231 |  | YES | NO | NO | ACTIVE | PC | 1 |  | 1 |  | 1 | 1 |  |  | NETWORK | NW--IPBB | NW = RADIO -- RRU | UNKNOWN | RRU |  | 5 | 5 | 2 | [6 empty] | OLD | 0.324 | 1 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
742266 |  | YES | NO | NO | ACTIVE | PC | 1 |  | 1 |  | 1 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ANTENNA | KATHREIN | DXX-824-960/1710-2180-65/65-16.5i/18.5i-M/M (ANT) |  | 267 | 45 | 5 | [6 empty] | OLD | 0.14418 | 10 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
148235 |  | YES | NO | NO | ACTIVE | PC | 1 |  | 1 |  | 1 | 1 |  |  | FACILITY | NW--IPBB | FACILITY = TRANSFORMER | UNKNOWN | Trasformer 110kva |  | 20 | 20 | 5 | [6 empty] | UPDATED | 0.61236 | 9 | UPDATED |  |  | UPDATED |  |  | 2025-06-25 16:40
742226 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ANTENNA | UNKNOWN | XXPOL A-PANEL 806–960/1710–2170 65°/60°12/14DBI 0°/0°T |  | 57 | 26 | 40 | [6 empty] | NEW | 0.01778 | 10 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
2514 |  | YES | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | FACILITY | FC--SALES_FACILITY | FACILITY = SELF SERVICE | HOI | SSM (Self-Services Machine) |  | 60 | 40 | 166 | [6 empty] | UPDATED | 0.288 | 1 | UPDATED |  |  | UPDATED |  |  | 2025-06-25 16:40
02234858 |  | NO | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--IPBB | NW = RADIO -- SBT | HUAWEI | SBT KIT WITH AISG CABLE |  | 54.8 | 48.6 | 17.5 | [6 empty] | OLD | 0.00528 | 10 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
200507 |  | NO | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = EM -- RECTIFIER CABINET | UNKNOWN | ELTEK Rectifier Cabinet ID 16 KW |  | 20 | 20 | 5 | [6 empty] | NEW | 0.144 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
01071773 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--CORE | NW = CORE -- Power System | UNKNOWN | System Power,PDB480D-16DC,DC Input,M6 JG,NULL |  | 48.2 | 64.5 | 30.8 | [6 empty] | NEW | 0.37307 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
148233 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | FACILITY | NW--IPBB | FACILITY = TRANSFORMER | UNKNOWN | Trasformer 110kva |  | 20 | 20 | 5 | [6 empty] | UPDATED | 0.61236 | 6 | UPDATED |  |  | UPDATED |  |  | 2025-06-25 16:40
820710 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | FACILITY | FC--SALES_FACILITY | FACILITY = IT -- CABINET | RITTAL | Data Cabinet 01 |  | 60 | 85 | 200 | [6 empty] | UPDATED | 0.612 | 1 | UPDATED |  |  | UPDATED |  |  | 2025-06-25 16:40
24115.11 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = EM -- RECTIFIER MODULE | UNKNOWN | Eltek Rectifier module 2000 W |  | 265 | 28 | 10 | [6 empty] | NEW | 0.0064 | 5 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
COS_00006 |  | NO | NO | NO | ACTIVE | PC | 0 | PALLET | 0 |  | 0 | 1 | 18 |  | FACILITY | SALES FACILITY | FACILITY = MARBLE TILES | UNKNOWN | 60*80*35 MARBLE TILES USED |  | 15 | 15 | 2 | [6 empty] | NEW | 0.00067 | 40 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
25002 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- TMA | SIEMENS | TMA-DD 900 TWIN EGSM 28MHZ AISG 1.1 |  | 265 | 28 | 10 | [6 empty] | OLD | 0.01512 | 10 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
COS_00003 |  | NO | NO | NO | ACTIVE | PC | 0 | PALLET | 0 |  | 0 | 1 | 20 |  | FACILITY | SALES FACILITY | FACILITY = MARBLE TILES | UNKNOWN | 60*60*35 MARBLE TILES USED |  | 15 | 15 | 2 | [6 empty] | NEW | 0.00067 | 40 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
8782 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ANTENNA | UNKNOWN | XXX-Pol 824-960, 2x1710-2170( ALXT-824- 960/1710-2170-65-16.2i/16.5i/16.5i-Ai-D) |  | 265 | 28 | 10 | [6 empty] | NEW | 0.11342 | 6 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
02120471 |  | YES | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--IPBB | NW = RADIO -- DISTRIBUTION BOX | HUAWEI | DPD100-6-20 POWER DISTRIBUTION BOX DUAL-TWO INPUTS |  | 56.8 | 43.6 | 13 | [6 empty] | OLD | 0.00012 | 1 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
2102443 |  | YES | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | FACILITY | NW--IPBB | FACILITY = SHREDDER | UNKNOWN | DOCUMENT SHREDDER |  | 48.2 | 64.5 | 30.8 | [6 empty] | OLD | 0.088 | 9 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
02113089 |  | YES | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--CORE | NW = CORE -- SWITCH | UNKNOWN | Quidway S9303,LE0B1SA04,S9303 Assembly Chassis |  | 44.2 | 43.8 | 17.5 | [6 empty] | NEW | 0.23232 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
02270131 |  | NO | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--CORE | NW = CORE -- POWER SUPPLY MODULE | UNKNOWN | DC-DC Module,600W,-5degC,55degC,-38.4V,-75V,12V/50A;5V/36A,10000uF,Overall Combined Capacity of the 12V and 5V Power Supply is 600W |  | 26.5 | 9 | 8.1 | [6 empty] | NEW | 0.02862 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
01071087 |  | YES | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = EM -- POWER - CABINET | HUAWEI | APM30H (AC 220V) |  | 60 | 85 | 200 | [6 empty] | OLD | 0.36 | 1 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
323064 |  | NO | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | FACILITY | FC--IT | FACILITY = IT -- PATCH PANEL | UNKNOWN | PATCH CORD FO OM3 LCD /LCD 2M |  | 15 | 15 | 2 | [6 empty] | NEW | 0.00067 | 40 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
91880 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | FACILITY | FC--SALES_FACILITY | FACILITY = CHAIR | UNKNOWN | Employee Chair Arm Stay Polyamide Black (NHQ) |  | 20 | 20 | 5 | [6 empty] | OLD | 0.00195 | 40 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
02113821 |  | YES | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--IPBB | NW = MW -- IDU | HUAWEI | RTN905 |  | 45 | 60 | 160 | [6 empty] | OLD | 0.01684 | 6 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
DM_RRU_C |  | NO | NO | NO | ACTIVE | MTR | 0 | CM | 0 | ROLL | 0 | 1 | 1000 | 100 | FACILITY | FC--IT | FACILITY = IT -- WATER DESPINSER | UNKNOWN | RRU Power cable |  | 15 | 15 | 2 | 0.15 | 0.15 | 0.02 | 150 | 150 | 20 | NEW | 0.00067 | 40 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
742270 |  | YES | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ANTENNA | UNKNOWN | XXXPOL PANEL 806–960/1710–1880/1920–2170 65°/65°/65° 15/17/17DBI 0°–12°/0°–8°/0°–8°T |  | 150 | 26 | 14.6 | [6 empty] | NEW | 0.0468 | 10 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
742265 |  | YES | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ANTENNA | KATHREIN | DXX-790–960/1710–2180 65°/65° 16/18.5dBi |  | 58 | 4 | 21 | [6 empty] | UPDATED | 0.2403 | 6 | UPDATED |  |  | UPDATED |  |  | 2025-06-25 16:40
2120730 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--IPBB | NW = RADIO -- DCDU | HUAWEI | Power Distribution Box,Outdoor&Indoor Type,WD2E5DCDU12A,DC PDU,OUTPUT:10*30A fuse(3 PCS small terminal),DC,2 input,10 output,160A |  | 10.5 | 21.2 | 27 | [6 empty] | NEW | 0.09547 | 5 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
45464 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | FACILITY | FC--IT | FACILITY = IT -- WATER DESPINSER | UNKNOWN | WATER DESPINSER |  | 265 | 28 | 10 | [6 empty] | NEW | 0.06 | 6 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
02230198 |  | NO | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--IPBB | NW = RADIO -- FEEDER | HUAWEI | CABLE FIXING CLIP |  | 54.8 | 48.6 | 17.5 | [6 empty] | OLD | 0.0011 | 15 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
02120482 |  | YES | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--CORE | NW = CORE -- Fan Tray Assembly | UNKNOWN | NetEngine5000E,CR5E1FBX,Integrated Chassis 3-fan Fan Box |  | 52 | 19.3 | 17.5 | [6 empty] | NEW | 0.12043 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
742213 |  | YES | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ANTENNA | KATHREIN | DIRECTIONAL ANTENNA 1710~2170MHZ 19.5DBI 65DEG +/-45 0~6R 2* |  | 267 | 45 | 10 | [6 empty] | UPDATED | 0.14418 | 10 | UPDATED |  |  | UPDATED |  |  | 2025-06-25 16:40
2829 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- CABINET | SUN | TNMS AND NETVIEWER RICK CABINET #3433 |  | 60 | 40 | 166 | [6 empty] | UPDATED | 0.432 | 1 | UPDATED |  |  | UPDATED |  |  | 2025-06-25 16:40
02120559 |  | YES | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--ZAIN_PLANNING | NW = RADIO -- FAN UNIT | UNKNOWN | HERT,WD2E1FMUB,Fan Unit |  | 25 | 25 | 5 | [6 empty] | NEW | 0.01875 | 4 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
1902008 |  | NO | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--IPBB | NW = RADIO -- GPS | UNKNOWN | GPS ARRESTOR |  | 48.2 | 64.5 | 30.8 | [6 empty] | OLD | 0.00086 | 10 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
02120540 |  | YES | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--CORE | NW = CORE -- Fan Tray Assembly | UNKNOWN | CGA,CN2E02FFB,CGA Frame Fan Box,T8280 |  | 29.3 | 43.6 | 2.7 | [6 empty] | NEW | 0.1533 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
02120558 |  | NO | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--CORE | NW = CORE -- POWER DISTRIBUTION PANEL | UNKNOWN | Power Distribution Box,Quidway S9300,LE0W01DPDB,-48V,1PH,40A,8,4X40A |  | 11.6 | 43.6 | 8.6 | [6 empty] | NEW | 0.06069 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
02120532 |  | YES | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--CORE | NW = CORE -- Power Module | UNKNOWN | CGA,CN2E00PEM,Power Entry Module,T8280 Subrack PEM,2 inputs |  | 11 | 21 | 8 | [6 empty] | NEW | 0.02772 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
148234 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | FACILITY | NW--IPBB | FACILITY = TRANSFORMER | UNKNOWN | Trasformer 110kva |  | 20 | 20 | 5 | [6 empty] | UPDATED | 0.61236 | 8 | UPDATED |  |  | UPDATED |  |  | 2025-06-25 16:40
2152440 |  | NO | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--NETWORK | NW = MW -- ODU | UNKNOWN | ODU |  | 54.8 | 48.6 | 17.5 | [6 empty] | NEW | 0.02 | 8 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
2239582 |  | NO | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- AWARE UNIT | HUAWEI | SERVICE AWARE UNIT |  | 54.8 | 48.6 | 17.5 | [6 empty] | OLD | 0.0624 | 2 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
210212 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--IPBB | NW = RADIO -- DCDU | UNKNOWN | DCDU |  | 5 | 5 | 2 | [6 empty] | OLD | 0.0156 | 10 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
2113180 |  | YES | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- BBU | HUAWEI | BBU |  | 45 | 60 | 160 | [6 empty] | OLD | 0.02705 | 5 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
02120554 |  | NO | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--CORE | NW = CORE -- FAN | UNKNOWN | Ethernet switch,LE0E2FBX,Wide Voltage 68 Fan Box |  | 35 | 11 | 5 | [6 empty] | NEW | 0.0462 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
323066 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | FACILITY | FC--IT | FACILITY = IT -- PATCH PANEL | UNKNOWN | PATCH CORD FO OM3 LCD /LCD 5M |  | 15 | 15 | 2 | [6 empty] | NEW | 0.00067 | 40 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
463208 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | IT | FC--TECH_FACILITY | IT = SWITCH | UNKNOWN | CISCO CATALYST 4900 M |  | 15 | 15 | 2 | [6 empty] | NEW | 0.0001 | 20 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
244965 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | FACILITY | FC--SALES_FACILITY | FACILITY = LIGHT | UNKNOWN | Living Flower Light (Solar) |  | 26 | 40 | 25 | [6 empty] | OLD | 0.00437 | 20 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
2509 |  | NO | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | FACILITY | NW--IPBB | FACILITY = IPBB -- OSR | UNKNOWN | 2509 car-1 |  | 60 | 40 | 10 | [6 empty] | NEW | 0.288 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
241119.90299999999 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = EM -- RECTIFIER MODULE | ELTEK | RECTIFIER MODULES |  | 25 | 36 | 46 | [6 empty] | NEW | 0.00231 | 8 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
02120427 |  | YES | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--CORE | NW = CORE -- Power Distribution panel | UNKNOWN | Power Distribution Box-CGA-CN6E00DPD-DPD100-6-20 DC Power Distribution Box |  | 56.8 | 43.6 | 13 | [6 empty] | NEW | 0.29718 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
742224 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ANTENNA | KATHREIN | XXPol Panel 824–960/1710–2180 C 65°/65° 16/18.5dB (ANT) |  | 52 | 39 | 8 | [6 empty] | OLD | 0.09932 | 6 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
739624 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ANTENNA | KATHREIN | XPol Panel 806–960 65° 18dBi |  | 26 | 40 | 25 | [6 empty] | OLD | 0.2403 | 6 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
1708 |  | YES | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | FACILITY | FC--SALES_FACILITY | FACILITY = KVM | UNKNOWN | KVM rectifier PC |  | 5 | 80 | 10 | [6 empty] | NEW | 0.006 | 8 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
3426 |  | NO | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- CABINET | FUJITSU | TNMS AND NETVIEWER RICK CABINET #3433 |  | 60 | 40 | 166 | [6 empty] | UPDATED | 0.432 | 1 | UPDATED |  |  | UPDATED |  |  | 2025-06-25 16:40
02270132 |  | NO | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--CORE | NW = CORE -- POWER SUPPLY MODULE | UNKNOWN | DC-DC MODULE,960W,-5DEGC,55DEGC,-38.4V,-75V,12V/80A;5V/36A;12VSB/2A,10000UF,OVERALL COMBINED CAPACITY OF THE 12V AND 5V POWER SUPPLY IS 960W |  | 26.5 | 9 | 8.1 | [6 empty] | NEW | 0.0001 | 8 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
8015 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | FACILITY | FC--SALES_FACILITY | FACILITY = TABLE | UNKNOWN | Unioffice-Dining Table (Chief) |  | 265 | 28 | 10 | [6 empty] | OLD | 0.3654 | 5 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
547503 |  | YES | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--NETWORK | NW = EM -- PDU | UNKNOWN | RMAC1652AB |  | 2 | 25 | 15 | [6 empty] | NEW | 0.02 | 8 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
472109.102 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- BTS-ESMB | NOKIA SIEMENS NETWORK | ESMB 3G BTS |  | 15 | 15 | 2 | [6 empty] | UPDATED | 0.05069 | 5 | UPDATED |  |  | UPDATED |  |  | 2025-06-25 16:40
02121123 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--CORE | NW = CORE -- POWER DISTRIBUTION PANEL | UNKNOWN | Power Distribution Box,NE5000E-X16B,CR56PEMFB,-48V,1PH,null,60A,4,9600W,DC Power Entry Module |  | 44.2 | 18.2 | 4.1 | [6 empty] | NEW | 0.09653 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
02130608 |  | NO | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--IPBB | NW = EM -- RECTIFIER MODULE | HUAWEI | EPW30-48A |  | 54.8 | 48.6 | 17.5 | [6 empty] | OLD | 0.00012 | 1 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
7785 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ANTENNA | POWERWAVE | DXXX-824-960/1710-1880/1990-2170 /65/65/65/17.4/17.2/17.5 (ANT) |  | 265 | 28 | 10 | [6 empty] | OLD | 0.08904 | 10 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
514190 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | FACILITY | FC--IT | FACILITY = IT -- CARD | UNKNOWN | CARD |  | 20 | 20 | 2 | [6 empty] | NEW | 0.008 | 6 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
739623 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ANTENNA | KATHREIN | XPol Panel 806–960 65° 17dBi |  | 52 | 39 | 8 | [6 empty] | UPDATED | 0.2403 | 6 | UPDATED |  |  | UPDATED |  |  | 2025-06-25 16:40
793452 |  | YES | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- COMBINER | KATHREIN | TRIPLE-BAND COMBINER |  | 30 | 30 | 30 | [6 empty] | OLD | 0.0204 | 5 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
1022548 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--IPBB | NW = EM -- POWER MODULE | UNKNOWN | EATON POWERWARE 9155-8-S-15-32X9AH-M |  | 60 | 85 | 200 | [6 empty] | OLD | 0.252 | 1 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
DM_PW_CABLE |  | NO | NO | NO | ACTIVE | MTR | 0 | CM | 0 | ROLL | 0 | 1 | 1000 | 100 | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ANTENNA | UNKNOWN | POWER CABLE |  | 15 | 15 | 2 | 0.15 | 0.15 | 0.02 | 150 | 150 | 20 | NEW | 0.00067 | 40 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
742264 |  | NO | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ANTENNA | HUAWEI | XPol Panel 806–960 65° 18dBi |  | 5 | 6 | 4 | [6 empty] | OLD | 0.2403 | 6 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
2830 |  | YES | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- CABINET | RITTAL | TNMS AND NETVIEWER RICK CABINET #3433 |  | 60 | 40 | 166 | [6 empty] | UPDATED | 0.432 | 1 | UPDATED |  |  | UPDATED |  |  | 2025-06-25 16:40
02121773 |  | NO | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--CORE | NW = CORE -- Power Distribution panel | UNKNOWN | Power Distribution Box,MSOFTX3000,AI1E00DPD01,-48V,100A,20(10+10),50A Max.,DPD100-2-20 Power Distribution Box(black),no air-break switch |  | 48.4 | 48.2 | 8.6 | [6 empty] | NEW | 0.27995 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
02120868 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--CORE | NW = CORE -- POWER SUPPLY MODULE | UNKNOWN | NE5000E-X16A,CR56PEMF,DC Power Entry Module,DC,4,4 |  | 44.2 | 18 | 4.1 | [6 empty] | NEW | 0.09547 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
5755 |  | NO | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ANTENNA | POWERWAVE | XX-Pol 824-960, 1710-2170 |  | 60 | 40 | 166 | [6 empty] | UPDATED | 0.1176 | 2 | UPDATED |  |  | UPDATED |  |  | 2025-06-25 16:40
02121723 |  | NO | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--CORE | NW = CORE -- POWER DISTRIBUTION PANEL | UNKNOWN | POWER DISTRIBUTION BOX,FUSIONSERVER 9032,BC1E01PDUA,380V,3PH,32A,24 PATHS,DOUBLE 12 PATHS,(12*16A /12*16A),COMPATIBLE WITH 220V SINGLE PHASE, BLACK |  | 44.2 | 18.2 | 4.1 | [6 empty] | NEW | 0.0001 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
208598 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | FACILITY | FC--IT | FACILITY = IT -- ROUTER | UNKNOWN | 1424 SHDSL |  | 20 | 20 | 5 | [6 empty] | NEW | 0.008 | 6 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
02234854 |  | NO | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--IPBB | NW = RADIO -- FEEDER | HUAWEI | DBS 1/2 inch SUPERFLEXIBLE CABLE ANTENNA FEEDER ACCESSORIES KIT |  | 54.8 | 48.6 | 17.5 | [6 empty] | OLD | 0.01003 | 10 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
547500 |  | YES | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--NETWORK | NW = EM -- PDU | UNKNOWN | RMAC1652AB |  | 10 | 20 | 10 | [6 empty] | NEW | 0.02 | 2 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
793426 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- COMBINER | UNKNOWN | Outdoor Combiner,DC-790-862/880-960-01,6*4.3-10 Female(Long Neck) |  | 30 | 30 | 30 | [6 empty] | NEW | 0.0135 | 8 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
29529.001 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ANTENNA | CELWAVE | CEL WAVE BASIC 900\1800 - 870-960 |  | 265 | 28 | 10 | [6 empty] | OLD | 0.02673 | 20 | OLD |  |  | OLD |  |  | 2025-06-25 16:40
200506 |  | NO | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = EM -- RECTIFIER CABINET | UNKNOWN | ELTEK Rectifier Cabinet ID 16 KW |  | 20 | 20 | 5 | [6 empty] | NEW | 0.0752 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
241119.1 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = EM -- RECTIFIER MODULE | ELTEK | RECTIFIER MODULES |  | 2 | 25 | 15 | [6 empty] | NEW | 0.00231 | 8 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
469278.103 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- ANTENNA AMPLIFIER | NOKIA SIEMENS NETWORK | WHMD WCDMA 2.1 GHZ AISG DUAL MHA |  | 15 | 15 | 2 | [6 empty] | UPDATED | 0.02245 | 11 | UPDATED |  |  | UPDATED |  |  | 2025-06-25 16:40
323065 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | FACILITY | FC--IT | FACILITY = IT -- PATCH PANEL | UNKNOWN | PATCH CORD FO OM3 LCD /LCD 3M |  | 15 | 15 | 2 | [6 empty] | NEW | 0.00067 | 40 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
02113173 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- CABINET | UNKNOWN | HERT MPE,WD2B1LAR,INDOOR MARCO LARGE CABINET A,48VDC,202 |  | 45 | 60 | 160 | [6 empty] | NEW | 0.324 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
7600 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | FACILITY | NW--CORE_PLANNING | FACILITY = CORE -- CARD UNIT | UNKNOWN | CISCO CARDS UNIT |  | 60 | 40 | 166 | [6 empty] | NEW | 0.0001 | 2 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
02121774 |  | NO | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--CORE | NW = CORE -- Power Distribution panel | UNKNOWN | Power Distribution Box,MSOFTX3000,IT0E01DPD01,-48V,80A,sixteen,Double Road 8 (open pluggable, max. 80A),DPD80-16-16 Power Distribution Box,4U Power Distribution Box |  | 54.8 | 48.6 | 17.5 | [6 empty] | NEW | 0.31959 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
180596 |  | YES | NO | NO | ACTIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | FACILITY | FC--SALES_FACILITY | FACILITY = SWITCH | UNKNOWN | Switch |  | 20 | 20 | 5 | [6 empty] | NEW | 0.0001 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
02120631 |  | NO | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--CORE | NW = CORE -- POWER SUPPLY MODULE | UNKNOWN | PGP,CR52PEMC,48V DC Power Entry Module |  | 11.6 | 22 | 5.8 | [6 empty] | NEW | 0.03062 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
02113188 |  | YES | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = EM -- RECTIFIER CABINET | UNKNOWN | APM30H,WD2B24OPC,OUTDOOR POWER CABINET A,220VAC THREE PHASE OR 220VAC SINGLE PHASE INPUT,303 |  | 45 | 60 | 160 | [6 empty] | NEW | 0.3312 | 1 | NEW |  |  | NEW |  |  | 2025-06-25 16:40
2120548 |  | NO | NO | NO | PASSIVE | PC | 0 |  | 0 |  | 0 | 1 |  |  | NETWORK | NW--RADIO_PLANNING | NW = RADIO -- FAN | UNKNOWN | FAN UNIT |  | 29.3 | 43.6 | 2.7 | [6 empty] | OLD | 0.01786 | 10 | OLD |  |  | OLD |  |  | 2025-06-25 16:40